## Slide 1: Ultrasound circuit flow
指導教授：董蘭榮 教授
研 究 生：林柏佑

## Slide 2: Ultrasound circuit flow
Function generator IC
ICL8038(Pin2)
Buffer
Sine wave
(40kHz)
Phase shift
Cos wave
(40kHz)
Level shift
Ultrasound
Mixed
(sin*cos)
&
(cos*cos)
Reflect from body
(amplifier)
Band pass filter
(0.01-10Hz)
Demodulation
ADC to PC
Software
Hardware
(amplifier)

## Slide 3: Function generator IC:ICL8038
Pin2:output sine wave(40kHz)

## Slide 4: Sine wave(40kHz)

## Slide 5: Buffer circuit

## Slide 6: Sine wave after buffer on scope

## Slide 7: Level shift circuit

## Slide 8: Level shift on scope

## Slide 9: Phase shift circuit

## Slide 10: Phase shift on scope

## Slide 11: Ultrasound circuit
Receiver
Transmitter
Cos wave input
Receive signal

## Slide 12: Receive signal & amplifier signal

## Slide 13: Mixed circuit (sin*cos)&(cos*cos)
(sin*cos)&(cos*cos)

## Slide 14: Product-to-sum formula

## Slide 15: Mixed on scope

## Slide 16: Band pass filter circuit
High pass filter
Cut-off frequency:0.01Hz
Low pass filter
Cut-off frequency:10Hz

## Slide 17: Signal after band pass filter on scope(cos) & amplifier signal
After band pass filter
After amplifier

## Slide 18: Signal after band pass filter on scope(sin) & amplifier signal
After band pass filter
After amplifier

## Slide 19: Hardware(plot heart signal)
Frequency1.25Hz